## Sheet1
WPDVRC series
IO Port Chart
Wire Color | Function
Yellow | Alarm IN1
Red | Alarm IN2
Brown | Alarm IN3
Violet | Alarm IN4
Green | Alarm Out - N/O
Blue | Alarm Out - C
Black | Ground
Bare wire | Ground
Gray | RS485 +
Orange | RS485 -